## Slide 1: Characterization of a Single Photon Sensing Detector for Astrophysics
Don F. Figer, Justin P. Gallagher
Center for Detectors
Rochester Institute of Technology, Rochester, NY
AAS 235 January 5, 2020

## Slide 2: Outline
Science/Mission Background
Objectives and Goals
Technical Progress
Project Summary

## Slide 3: Science/Mission Background
Next generation space telescopes require low-noise and large-format UV/Vis detectors.
Large formats are particularly relevant for wide-field applications, such as the High Definition Imager for LUVOIR.
Low noise is particularly relevant for low-light applications, such as exoplanet characterization.
This project is funded by NASA’s Strategic Astrophysics Technology program (COR).

## Slide 4: Science/Mission Background

## Slide 5: Objectives and Goals
The goals of the project are to:
  characterize an existing low-noise CMOS detector in the lab, at a telescope, and after high energy irradiation simulating a space environment
  propose design modifications to bring the performance of the technology closer to specifications for the intended applications
The work is significant because it would enable quantum-limited imaging in gigapixel formats for very low cost.
The primary innovation is the pixel design that demonstrates single-photon-sensing and photon-number-resolving performance.
With the success of this program, it will be possible to design and deploy gigapixel ultra-low-noise detectors for UV/Vis missions.
Potential applications include any that require low-light level performance (astro, planetary, Earth, helio, quantum, etc.).

## Slide 6: Technical Targets
1Data were taken from Ma et al. (2015), Fossum (2016), and Ma et al. (2017).

## Slide 7: Technical Progress
RIT CfD received 20 prototype detectors packaged in a camera.
We established single-photon-sensing and photon-number-resolving performance.
A significant fraction of the acquisition and reduction software is complete.
We presented results at the Single Photon Workshop in October, 2019.

## Slide 8: Technical Progress

## Slide 9: Technical Progress

## Slide 10: Technical Progress
(left) A histogram of (ADU/e‒) gain of the detector array. The mean gain is ~14.3 ADU/e‒. (right) A histogram of electronic gain (μV/ADU) electronic gain. The mean gain is ~35.3 μV/ADU. The mean output sensitivity is 500 μV/e‒.

## Slide 11: Technical Progress
Large amplitude fringing is seen within the detector response (solid) and not in the Si diode response (dash). Thin film interference calculations suggest a thickness of 2.5 mm.

## Slide 12: Technical Progress

## Slide 13: Project Personnel
Don Figer (RIT PI)
Michael Zemcov (RIT Co-PI)
Eric Fossum (Dartmouth Co-PI)
Justin Gallagher (RIT Astrophysical Sciences and Technology MS)
Long Nguyen (RIT Electrical Engineering BS)
Michael Kha (RIT Software Engineering BS)

## Slide 14: Project Personnel
Kaitlin Anagnost (Dartmouth Engineering Sciences PhD)
Margaret Cruz (RIT Mechanical Engineering MS)
Wei Deng (Dartmouth Engineering Sciences PhD)
Eric Stolt (Dartmouth Physics BS and Engineering Sciences BS)

## Slide 15: Project Summary
acquired single photon sensing detectors
completed software driver code
completed IDL data acquisition software
wrote IDL data reduction/analysis software
demonstrated experiments to measure: dark current, read noise, quantum efficiency

## Slide 16: Images