## Slide 1: Imaging Spectroscopy with MUSE at the ESO-VLT: Science Drivers Lutz Wisotzki, AIP for the MUSE consortium
SDW2013 – 07 Oct 2013

## Slide 2: MUSE in a nutshell
2nd generation instrument for ESO VLT
Integral Field Spectroscopy in optical domain:
  1' × 1' field of view (in Wide Field Mode)
  0.2" × 0.2" spatial pixels
   90,000 spectra on 24 spectrographs
  Adaptive Optics supported
built by consortium of 6 institutes + ESO PI: Roland Bacon (Lyon)
commissioning scheduled for Feb 2014
See also Poster by Kelz et al.:
Serial Acceptance Testing of 24 Detectors for MUSE

## Slide 3: The formation of galaxies
Formation of a Milky Way-like galaxy in a cosmological context (numerical simulation)
Galaxies grow by
hierarchical merging
smooth accretion of matter
converting gas into stars
feedback into ISM and IGM

## Slide 4: Cosmic lookback time and galaxy redshifts
“epoch of galaxy formation”

## Slide 5: Finding high-redshift galaxies
General spectroscopic galaxy surveys:
  very low fraction of high-z objects!
Le Fevre et al. 2005
VLT/VIMOS Deep Survey
9141 galaxies, IAB < 24

## Slide 6: Finding high-redshift galaxies
“Lyman Break” technique:
  Characteristic colours: Pre-selection from broad band imaging
  + follow-up spectroscopy of selected candidates
(Figure from Pettini 2004)
(Figure by C. Steidel)

## Slide 7: Finding high-redshift galaxies
Lyman α line emitters (LAEs):
  For z > 1.8: Ly α detectable from the ground
  standard method: Narrow-band imaging + follow-up spectroscopy
Ouchi et al 2008

## Slide 8: What are the progenitors of Milky Way-type galaxies?
Simulations suggest that MW progenitors were bright in the Ly-α line,
Simulation by Yajima et al 2012; cf. also Dayal & Libeskind 2012
Growth history of `simulated MW´
below current
sensitivity in Ly α
but most are too faint for existing narrow-band surveys!

## Slide 9: How do galaxies get their baryons?
Simulations: High-z galaxies grow predominantly by smooth accretion of gas through filamentary streams
Best chance for detection: Ly-α emission from densest filaments near galaxies
but predicted surface brightnesses are extremely low (and uncertain!)
SB limit: 10-18 erg s-1 cm-2 arcsec-2
Simulation: Dekel et al 2009
Simulation: Goerdt et al 2010
Current limit for NB imaging

## Slide 10: Top-Level Science Goal for MUSE: Push detection of Ly-α emission to faintest possible flux levels!
We want to
detect genuine low-mass galaxies at high z,
  because these are the building blocks of ``normal´´ galaxies.
constrain feedback and chemical enrichment of the IGM,
  because outflows from low-mass galaxies may dominate this process.
understand how galaxies get their baryons,
  in particular: Test the predicted scenario of ``smooth accretion´´

## Slide 11: Global performance goals for MUSE
Reach significantly fainter than NB imaging!
  Dispersive system (to beat down sky background, especially in the red)
  High spatial resolution (again to reduce background)
  Capability for very long integrations – highest possible stability!
Cover the broadest possible redshift range!
  Cover much of optical λλ simultaneously!
Provide high-resolution spectral and spatial information!
  Obtain spectra of all observed objects
  Minimise degradation by atmospheric seeing
Efficient usage of telescope time!
  Achieve high multiplexing factor
➡ Build an Integral Field Spectrograph optimized for `Deep Fields´!

## Slide 13
Telescope, Fore Optics
Splitting & Relay Optics
Image Slicers, 24 Gratings
24 Detectors
Data Cube: 300 x 300 x 3600

## Slide 14
VIRUS: Visible Integral-field Replicable Unit Spectrograph for the 10m Hobby-Eberly Telescope
75 fiber bundles
150 spectrographs
33600 fibers
Goal: Blind Survey over >500 deg2 for ~106 bright LAEs as probes for the geometry of the universe at z=2–3

## Slide 15: Rear view

## Slide 16: Instrument main structure

## Slide 17: Instrument main structure

## Slide 18: Front view

## Slide 19: Fore-optics (w/ field derotator)

## Slide 20: Field splitting & relay optics

## Slide 21: Side view

## Slide 22: 24 integral field units
Image Slicer
Collimator
Camera f/2
CCD 4k2
VPHG

## Slide 23: Image slicers
IDA: 4 stacks of 12 off-axis spherical mirrors, 33x0.9 mm rectangular aperture
FMA: 4 stack of 12 off axis spherical mirrors 6x2 mm elliptical aperture
Winlight Optics

## Slide 24: Spectrographs + detectors on test bench

## Slide 25: Volume-phased holographic gratings
Kaiser Optical System Inc

## Slide 26: Detectors
231-84 4kx4k
e2v
Linearity
Readout Noise
24 CCDs: 4k × 4k
red-sensitive
graded AR coating

## Slide 27: Benefit of graded AR coating
Fixed wavelength range  constant mapping from pixels to wavelengths  allow for optimised wavelenth-dependent coating

## Slide 28: Cryogenic system with 1 IFU and 1 PI

## Slide 29: IFU #1: Technical first light
January 2010
3750 spectra – only 1/24 of full dataset!
HgCd + Ne + Xe arc
Continuum

## Slide 30: June 2013: MUSE is fully integrated!

## Slide 31: Performance: Measured throughput

## Slide 32: Average (MUSE + VLT) throughput in comparison
including telescope, w/o atmosphere

## Slide 33: Expected performance: Point source sensitivity
approx. limit for narrow-band LAE surveys
MUSE:
detection limits for
single line emitters
as fct of exposure time

## Slide 34: Science goal revisited: Progenitors of Milky Way-like galaxies
Simulations suggest that MW progenitors were bright in the Ly-α line,
but most are too faint for existing narrow-band surveys!
Simulation by Yajima et al 2012; cf. also Dayal & Libeskind 2012
Growth history of `simulated MW´
current limiting
sensitivity in Ly α
MUSE will be able to reveal
the typical MW progenitors
at 3 < z < 6.7
MUSE sensitivity

## Slide 35: Expected performance: Surface Brightness Sensitivity
approx. limit for deep narrow-band imaging
MUSE:
detection limits for
extended line emission
as fct of exposure time

## Slide 36: Science goal revisited: How do galaxies get their baryons?
Simulations: High-z galaxies grow predominantly by smooth accretion of gas through filamentary streams
Best chance for detection: Ly-α emission from densest filaments near galaxies
but predicted surface brightnesses are extremely low (and uncertain!)
SB limit: 10-18 erg s-1 cm-2 arcsec-2
Simulation: Goerdt et al 2010
Current limit for NB imaging
SB limit: 10-18 erg s-1 cm-2 arcsec-2
SB limit: 10-19 erg s-1 cm-2 arcsec-2
MUSE limit
for texp = 100h
MUSE will hopefully be able to map the gaseous `Cosmic Web‘ by its extended Ly-α emission.

## Slide 37: Adaptive Optics for MUSE
In 2015, VLT #4 will receive ``Adaptive Optics Facility‘‘ Link to MUSE via GALACSI module.
Wide Field Mode (WFM): AO correction only for turbulent ground layer  "Seeing enhancement" over full 1' x 1' FoV: Prediction: FWHM < 0.5 arcsec in 60% of nights.
Narrow Field Mode (NFM): High-order AO for field of view of 7.5" x 7.5" goal: up to 20% Strehl at 850 nm

## Slide 38: MUSE and GALACSI

## Slide 39: 4 laser guide stars:

## Slide 40: MUSE Data Handling
1 MUSE exposure: Data from 24 IFUs and 1152 slices ≈ 4 × 108 pixels in data cube ≈ 2 GB
Already elementary data reduction is extremely complex & resource-consuming.
  Science-grade Data Reduction Software is part of instrument deliverables & will be part of ESO standard pipeline.
Many challenges for higher level data analysis:
  Optimal combination of multiple exposures
  Source detection in 3D data cubes
  Extraction of spectra, especially in crowded fields

## Slide 41: More Key Science Goals for MUSE: Galaxy Clusters

## Slide 42: More Key Science Goals for MUSE: Nearby Galaxies and Galaxy Nuclei

## Slide 43: More Key Science Goals for MUSE: Resolved Stellar Populations and Black Holes in Globular Clusters

## Slide 44: MUSE properties in summary
Huge multiplex: 108 spatial × spectral resolution elements enabled through modular design
maximally stable for very long integrations essentially no moving parts: fixed spectral format
Extremely high throughput due to state-of-the-art coatings
AO supported: "seeing enhancement" over 1' x 1' field of view

## Slide 45: A simulated Hubble Ultra Deep Field `observed‘ with MUSE
Noise-free input to 3' x 3' data cube:
Red: z > 2.875 Ly α galaxies (from cosmological hydro simulation)
Green: z < 2.875 HUDF galaxies + assumed velocity fields
Blue: HUDF stars
all: 35,018 objects

## Slide 46: A simulated Hubble Ultra Deep Field `observed‘ with MUSE
white light images 1' x 1'
texp = 2h, no AO, poor seeing, some moon.
texp = 10h, no AO, median seeing, dark time.
texp = 80h + AO, good seeing, dark time.

## Slide 47: Detection of continuum counterparts:

## Slide 48: MUSE science cases
Formation and evolution of galaxies at z > 3
Galaxy evolution at z < 1.5
High-resolution studies of nearby galaxies
Resolved stellar populations in the Milky Way and very nearby galaxies
Young Stellar Objects
Gas Nebulae
Solar System objects
...