## Slide 1
Astrophotonics
Science Detector Workshop – Monday 7th Oct 2013
Roger Haynes

## Slide 2
Astrophotonic Spectrograph

## Slide 3
MM fibre for efficient coupling (seeing limited)
SM fibre for photonic functions
Telescope
Star
Efficient fibre coupling requires MM fibres
Integrated Photonic Spectrograph
Fibre Bragg Grating
Photonic functions require SM fibres
PSF
large
perturbed
Solution: multimode-to-single-mode converter
Photonic Lantern
Efficient Coupling to Telescope

## Slide 4
Photonic Lantern Functions
Efficient telescope coupling
Enables photonics function
Working at diffraction limit
Modal noise suppression
Types of Photonic Lantern
Notes: Simulation of Mode 42 of MMF propagating from a MMF region to 85 SM core array

## Slide 5
GNOSIS: OH-Suppression Instrument
Commissioned at the AAT in 2011
Notes: Commissioned in 2011

## Slide 6
Good OH Suppression
  78% of lines suppressed to required level or greater.
  Integrated background reduction factor > x9
  Interline component ~ 860 ± 210 photons s-1 m-2 arcsec-2 µm-1
GNOSIS: OH-Suppression Results
Limited S/N gains
  Low efficiency
  High thermal background
  Detector noise limited
Notes: Top: Unsuppressed, Bottom: Suppressed
Red: Thermal, Blue: Detector Noise, Black: Raw Data, Grey: Reduced data

## Slide 7
PRAXIS: Next Gen. OH-Suppression
Outside enclosure (hot)
Inside enclosure (cold)
Detector enclosure
Baffle (very cold)
Cold stop
Slit assembly
Fibres
  Development: Mid 2012 – Mid 2014
  Collaboration of AIP, AAO and USyd
  New high efficiency design
  Cold design: Fore-optics, Slit, Spectrograph and Baffling
  New low noise detector
  Initially used GNOSIS FBG filters
  Later use MCF FBG filters
  Portable design for AAT and 8m

## Slide 8
Diffraction Limited Spectrograph
Combine limited AO correction with photonics
  Lower order AO with a few mode photonic lantern
Use AO System to provide near-diffraction limited PSF
  Losses due to imperfect correction
  Losses from PSF to spectrograph aperture alignment
Use Photonic Lantern to convert to single mode regime
  May require many modes
    8m, 0.5 as, H-Band: ~100
    8m, 0.5 as, Visible: ~1000
Diffraction limited from the ground

## Slide 9
PL: MM to SM slit re-formatting
The multimode fibre core has the same area as the single mode fibre cores
Number of multi-modes = Number of single-mode cores
SM fibre has √N smaller diameter than MM fibre
  SM system will give lossless √N higher R, if d limited
If SM are adjacent and without any gap for cladding
  SM slit is √N longer than MM slit
For adequate λ sampling SM pixels must be √N smaller than MM
  SM needs N more pixels than MM, unless pixels are rectangular
SM: Ideally √N smaller pixels, but rectangular and √N more pixels
N = number of SM cores

## Slide 10
Photonic Lantern Coupled Spectrograph
Reformatting slit of spectrograph into single mode via photonic lantern
Spectrograph can use conventional optics or photonics
Trade slit length for slit width
Narrow slit allow diffraction limited performance
  Conventional Spectrograph: Small diameter and relative cheap optics
  Integrated Photonic Dispersion: Arrayed Waveguide Gratings
Developments
  TIGER: Conventional Optics (USyd and MQ)
  IPS & PIMMS: AWG Photonic Spectrograph System (AIP, IHP, ORC, USyd, MQ)

## Slide 11
Integrated Photonic Spectrograph (IPS)
Single order device
Single fibre per chip
Linear detector
Stacking gap issues
Stack IPS devices
Anamorphic optics
2D detector array

## Slide 12
Optimised IPS
Multiple off-axis inputs, spectra fill output
Each channel corresponds to PL SM output
Depends on off-axis performance
Inputs correspond to PL SM outputs
Multi-channel, Multi-stack IPS array
PIMMS Concept

## Slide 13
IPS first light on sky at AAT
IRIS2 infrared spectrograph at the AAT
Coupling to the telescope via Photonics Lantern and µm-lens array
No external cross disperser as thermal background noise would have been to too high without cooling
Used IRIS2 cold slit and cold stop to baffle thermal background from IPS and re-imaging optics
IRIS2 Grism used for Cross-Dispersion
IRIS2 Hawaii-1 as the Detector

## Slide 14
IPS on sky results

## Slide 15
IPS Detector Requirements
Arrayed-Wave-Guide (AWG) based photonic spectrographs requires small pixels and curved detector arrays.-Nitride chip
AWG spectra are anamorphic magnified onto detector.
AWG chips are then stacked into 2D array.
Multiple channels for each AWGs to increase Multiplex.
AWG output is curved and projects to a curved detector.
Detector requirements
Wavelength Range
Visible and NIR devices envisaged, i.e. Windows from, 0.3-1.8um.
Current design: IR in narrow (40nm wide band) centred on ~1600nm.
Surface: r = 1-100mm
Detector surface to match curved anamorphic projection of stacked AWG outputs.
Current design: λ radius ~17.5mm, Y radius ~ flat.
Small pixels: 0.2-3um
Size scales with mode field diameter and wavelength.
Current Astronomy optimised design: Mode field FWHM is 3x3um at 1630nm, so ˜1.5µm pixels.
Pixel Shape
Rectangular with long axis in spatial direction. Aspect ratios Nmode & λ dependent
Current design: ~1µm pixels wide and > 15µm long

## Slide 16
Acknowledgements
Federal Ministry of Education and Research (Grant No. 03Z2AN11/12)
Many thanks
Major contribution of slide material from:
Jon Lawrence, Joss Bland-Hawthorn & Simon Ellis
Also thanks to the collaborators