## Slide 1: Digital Correlated Double Sampling for ZTF
Roger Smith and Stephen Kaye California Institute of Technology

## Slide 2: Digital CDS is very simple
Is 10 MHz sampling adequate at 1 Mpixel/s ?
  If so, successive approximation ADC can have excellent 16 bit performance, size, power.
4ch * 1 Mpixel/s * 32 bit
= 128 mbit/s
USB2 is rated at 400mbit/s.
Serial register
Coadder
Serial register
Coadder
USB2
Virtex 5 FPGA
Simple Postamp-ADC
Preamp in dewar
Commercial fiber optic USB extender.
Vacuum Interface Board, in Dewar
Part of Single Board CCD controller, outside telescope beam.
Twinax cable

## Slide 3: Transfer function2, no filter
Nyquist
Passband
Aliases
Dual slope integrator

## Slide 4: Transfer function2, 1 pole anti-aliasing
Significant aliased power remains
1 Pole Filter at fc = 4Mhz
Is not good enough

## Slide 5
Read noise voltage only 1% more than dual slope integration.
5+5

## Slide 6
6+6

## Slide 7
7+7

## Slide 8: Backup slides

## Slide 9: E2v CCD231-C6: “typical” noise
Fc = 4MHz
>9e- noise per sample = 1.95 ADU
Gain for 300,000 e- full well  4.6 e-/ADU
Quantization degrades noise
by √(1+0.5/1.952)-1 = 3 %
Can reduce by choosing higher filter cut-off or lower e-/ADU