## Slide 1
Investigation of the H2RG Fast Mode Operation – SDW 2013

## Slide 2: Why Look at H2RG Fast Mode
H2RG Focal SCA Fast Mode Operation Gaining Popularity for use in Higher Background Applications
    Solar Observatories
    Earth Sensing Applications
Leverages Existing Proven Detector and Electronics Technologies
High TRL Level
    Important for Low Risk, Especially for Near Term Missions

## Slide 3: SWIR H2RG Fast Mode Characterization
SWIR H2RG SCA run with SIDECAR ASIC Cryokit
Data obtained with varying detector operating conditions
  Detector operating temperature
  Detector reverse bias
Investigated CDS noise as Well Capacity versus operating conditions