## Slide 1: STA CCD Detector, Controller, and System Developments
Scientific Detector Workshop
Baltimore, Maryland
26 September, 2017
Greg Bredthauer, Kasey Boggs, Joe Tufts
greg.bredthauer@sta-inc.net
http://www.sta-inc.net

## Slide 2: STA
Richard Bredthauer, 1975: “A 50-bit charge coupled device with AC coupled inputs”
Hubble WFPC2
Mars Pathfinder Stereo Imager
All Cassini CCDs
STA founded 1999
GLM

## Slide 3: Changes at STA
Dick and Ginny retired in 2016, sold STA
Still 5 full time employees
We moved from a 5000 sq. ft. leased building to a 7000 sq. ft. building we own on Friday
Cleanroom upgraded from 180 sq. ft. to 480 sq. ft. (independent AC and humidity control)
Move took 1 semi, 4 large box trucks, 4 small box trucks, countless car/minivan/pickup trips

## Slide 4: Custom CCDs
STA4600 (Metrology) 4032 x 4032 22.5um 32 outputs split frame 4.6 Hz frame rate
STA4500 wafer scale 6k x 6k 15um

## Slide 5: PSF vs. Intensity

## Slide 6: Centroid vs. Intensity

## Slide 7: Etalon
Challenge: Measure etalon in the presence of fixed patterns
Solution: Calculate 2nd derivative imagery from flats taken at 3 wavelengths (930±5nm)

## Slide 8: High(er) Resolution 1X Masks
STA3800 Revisions (Data courtesy of Mike Lesser at the U of A Imaging Technology Laboratory)

## Slide 9: High Resolution Pixel Mapping
STA1600 pixel centroids measured using a projected fringe pattern (courtesy of Dave Sawyer and Mike Shao) for the EXPRES spectrometer

## Slide 10: STA4850
Improved 4k x 4k quad output with 15um pixels
30um 1kOhm epi or 100um 10kOhm deep depletion

## Slide 11: STA4850
New package isolates thermal and mechanical support
Package fits in the sensor footprint
Symmetric thermally and mechanically
Designed for tight thermal control (SiC or AlSi or not invar)
Z stiffness 1um/N, X/Y stiffness <=0.3um/N, compliant in R
Integrated JFET buffers, temp sensors, dump drain

## Slide 12: Custom Electronics
Custom 32 channel Archon
Custom higher bandwidth, fast settling ADF module

## Slide 13: 400MHz 14-bit Archon ADX

## Slide 14: Archon Developments
Daisy-chain synchronization
XV options: +/-95V biases for deep depletion
VCPU for general purposes (vacuum gauges, motion control, I2C, RS232, etc)
AC power

## Slide 15: Archon Temperature Control
HeaterX: 0.3mK RMS stability with 1000 Ohm RTD

## Slide 16: CCD Simulations
Comprehensive simulations of deep depletion CCDs that properly model fields, doping, mobility, interfaces, etc., are hard…

## Slide 17: Dark Current, +25C

## Slide 18: Dark Current, -120C